SPECIFICATIONS SECTION 07720

METAL ROOF WALKWAY SPECIFICATION

# I. 				PART ONE - GENERAL

1.1		SUMMARY

A.	Work included: Furnishing and installing factory fabricated metal roof walkway.

B.	Related Work: [Insert applicable specifications sections]

1.2		SUBMITTALS

A.	 Product Data: Provide manufacturer’s product data for all materials in this specification.

B.	 Shop Drawings: Show profiles, accessories, location, and dimensions.

C. Samples: Manufacturer to provide upon request; sized to represent material adequately.

D. Contract Closeout: Metal roof walkway manufacturer shall provide the manufacturer’s Warranty prior to the contract closeout [if applicable].

1.3		PRODUCT HANDLING

A.	 All materials shall be delivered in manufacturer’s original packaging.

B. Store materials in a dry, protected, well-vented area. The contractor shall thoroughly inspect product upon receipt and report damaged material immediately to delivering carrier and note such damage on the carrier’s freight bill of lading.

C. Remove protective wrapping immediately after installation [if applicable].

1.4		SUBSTITUTIONS

A.	 Proposals for substitution products shall be accepted only from bidding contractors and not less than (10)    working days before bid due date. Contractor guarantees that proposed substitution shall meet the performance and quality standards of this specification.

1.5		JOB CONDITIONS

A.	 Verify that other trades with related work are complete before installing metal roof walkway.

B.	 Mounting surfaces shall be straight and secure; substrates shall be of proper width.

C. Refer to the construction documents, shop drawings, and manufacturer’s installation instructions.

D. Coordinate installation with roof panel manufacturer’s instructions before starting.

E.	 Observe all appropriate OSHA safety guidelines for this work.

1.6		WARRANTY/GUARANTEE

A.	 Manufacturer’s standard warranty: Materials shall be free of defects in material and workmanship for a  period of one year from the date of purchase. Should a part fail to function in normal use within this period, manufacturer shall furnish a new part at no charge.

II. 		PART TWO - PRODUCTS

2.1		MANUFACTURER

A.  R & S Manufacturing and Sales Company, Inc., 3575 Old Conejo Rd., Newbury Park, CA 91320

1-805-375-3980, Fax: 1-805-375-3981,Web: www.rnssales.com

2.2		METAL ROOF WALKWAY

A.		Furnish and install where indicated on plans metal roof walkways.

B. 		Planks:	Planks shall be anti-skid design 12” wide by 2-1/2” high and 10’ long.  Flange options include male/male or female/male to enable interlocking assemblies of 24” widths increasing in 12” increments.  Standard is mill finish G90 galvanized steel in 18 Gauge, 16 Gauge, or 14 Gauge materials.

C.		Accessories: Include standard supports, splice channels, and ledger angles where specified.

D.		Hardware:  Include clips, hold down clamps, and fasteners where required.

E. 		Finishes: Factory finish shall be mill finish.

III. 		PART THREE - EXECUTION

3.1		INSPECTION

A.	Verify that metal roof walkway installation will not disrupt other trades. Verify that the substrate is dry, clean, and free of foreign matter. Report and correct defects prior to any installation.

3.2 	INSTALLATION

A.		Submit product design drawings for review and approval to the architect or specifier before fabrication.

B.		The installer shall check as-built conditions and verify the manufacturer’s metal roof walkway details for accuracy to fit the application prior to fabrication. The installer shall comply with the metal roof walkway Manufacturer's installation instructions.

C.	The installer shall furnish mechanical fasteners consistent with the roof requirements.

END OF SECTION 07720