SPECIFICATIONS

SECURITY BARS

Security Bars shall be No._____as manufactured by R&S Manufacturing and Sales Company, Newbury Park, CA

The rounds shall be ½" solid steel round bar. The frame shall be 1-1/2 x 1-1/2 x 14 GA steel. On models SB-1 and SB-2 the rounds shall be welded to the frame on 5" centers across the short dimension and shall be painted white. Maximum spacing between rounds on the long direction on model SB-2 only shall be approximately 16". Model SB-3 rounds are 5" on center in both directions.